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Projects Pending 
Updated 6/12/2026

Buildings & Grounds: 
· Vent Flap Replacement 
· Mailbox Replacement  
· Boardwalk Replacement 
· Pool Stairway Build 
· Chemical Room Build  
· Indoor Pool Window Frame Replacement 
· Pool Fence Repair  
· Damaged Brick Repair 
· Lights Above Walkways Cleaning & Bulbs 
· Catwalk Carpet Cleaning 
· FOB Equipment Maintain/Replace & Move 
· Camera Equipment Maintain/ Replace & Move 
· Seating Areas on Campus Build 
· Fire Doors Function & Repair 
· Furniture Upper Deck Replacement 
· Furniture Indoor Pool Replacement 
· Library AC Installation 
· Indoor Hot Tub Window Trim Refinish
· Exterior Stairway to Clubhouse 

Research and / or Policy: 
· Elevator Research 
· Fire Alarm/Monitoring Systems Review 
· Sewer Maintenance Research 
· Patio, Walkway & Lawn Décor Guidelines Review/Revise 
· Operations Management Options Explore 
· Owner Occupancy Policy Updates Review/Clarify/Revise 
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